## Slide 1: Proteomics Data Analysis
Simon Andrews
V2024-09

## Slide 2: Course Content
Principles of Mass Spectrometry
Types of Quantitative MS
Processing MS Data
  Running searches
  Evaluating Quality Control
Analysing MS Data
  MSstats Shiny
  MSstats in R
    Data import
    Quantitation and normalisation
    Differential abundance

## Slide 3: Related Courses
Introduction to R
Advanced R
GGplot
Statistics with R
Interpreting Gene Lists

## Slide 4: Principles of Proteomics Mass Spec

## Slide 5: How mass spectrometers work
Time of Flight
(TOF)
Fourier Transform Ion Cyclotron Resonance (FT-ICR)
S
Sample
Detector
+1
+2
Time (m/z)
Intensity
Detector
Frequency (m/z)
Intensity

## Slide 6: A typical mass spectrum
http://www.ionsource.com/tutorial/protID/spectralmatching_mascot.htm

## Slide 7: Measuring whole proteomes
Whole proteins are too big and can't be identified from their mass
Proteome samples are too complex to put all proteins into the machine at the same time
Need to find a way to measure data for a complex proteome

## Slide 8: "Bottom-up" proteomics
Trypsin
Peptide
K/R
Peptide
K/R
Peptide
K/R
Peptide
K/R
Peptide
K/R
Peptide
K/R
Peptide
K/R
Peptide
K/R
LC
Peptide
K/R
Peptide
K/R
Peptide
K/R
Mass Spec

## Slide 9: Mass Spectrometry
SILAGVK
686Da
KVGALIS
686Da
VLAGISK
686Da
Just knowing a peptide's mass isn't enough to identify it

## Slide 10: Tandem Mass Spectrometry
SILAGV K
SILAG VK
SILA GVK
SIL AGVK
SI LAGVK
S ILAGVK
686Da
541Da
442Da
385Da
314Da
201Da
88Da
147Da
246Da
303Da
374Da
487Da
600Da
SILAGVK

## Slide 11: Peptide MS2 Spectra
https://iomics.ugent.be/ms2pip/
Observed
Theoretical
Searches are not performed by inferring sequence from spectra, but by scoring matches to predicted spectra

## Slide 12: Measuring Modifications
Acetylation
Formylation
Met Oxidation
Phosphorylation
Ubiquitination
Glycosylation

## Slide 13: Problems with bottom up proteomics
Too many peaks for MS2
  More LC Separation
  (longer run time)
  Select some peaks
  (ignore others)
  Mix peaks for MS2
  (messy data)
LC Column
MS1 Peptide Spectrum
MS2 Fragment Spectra
Peptide Mix

## Slide 14: DDA vs DIA
Data Dependent Acquisition (DDA)
Pick the strongest peaks from MS1
Pass them individually to MS2
Clean MS2 spectra
Smaller peaks missed – lower coverage
Different peaks picked in each run
  Missing values
  Noise
Data Independent Acquisition (DIA)
Pick all peaks from MS1 (MZ range)
Pass them simultaneously to MS2
Mixed MS2 spectra
More difficult spectrum matching
Higher coverage
More complete coverage

## Slide 15: DIA vs DDA
DDA
DIA

## Slide 16: Identifying Proteins from spectra

## Slide 17: Database Searching
Protein Identification (with confidence)
Abundance Quantitation
Downstream analysis

## Slide 18
https://www.uniprot.org/proteomes

## Slide 19
Keratin
(human, sheep)
Cow Proteins
(Cell Culture Medium, BSA)
Trypsin
(or Lys-C)
Amylase (Saliva) Rubber Proteins (gloves) Weight Markers Proteomics Standards Pepsin Caesein FLAG/HA Streptavidin
cRAP protein sequences
The common Repository of Adventitious Proteins
https://www.thegpm.org/crap/

## Slide 20: Database Searching
Take all proteins from your species of interest
Generate Peptide Spectral Library
Shuffle Peptide Sequences
Generate Peptide Spectral Library
Search for peptide spectrum matches (PSMs)

## Slide 21: Protein Libraries
>P05067 Amyloid-beta precursor protein
MLPGLALLLLAAWTARALEVPTDGNAGLLAEPQIAMFCGRLNMHMNVQNGKWDSDPSGTKTCIDTKEGILQYCQEVYPELQITNVVEANQPVTIQNWCKRGRKQCKTHPHFVIPYRCLVGEFVSDALLVPDKCKFLHQERMDVCETHLHWHTVAKETCSEKSTNLHDYGMLLPCGIDKFRGVEFVCCPLAEESDNVDSADAEEDDSDVWWGGADTDYADGSEDKVVEVAEEEEVAEVEEEEADDDEDDEDGDEVEEEAEEPYEEATERTTSIATTTTTTTESVEEVVREVCSEQAETGPCRAMISRWYFDVTEGKCAPFFYGGCGGNRNNFDTEEYCMAVCGSAMSQSLLKTTQEPLARDPVKLPTTAASTPDAVDKYLETPGDENEHAHFQKAKERLEAKHRERMSQVMREWEEAERQAKNLPKADKKAVIQHFQEKVESLEQEAANERQQLVETHMARVEAMLNDRRRLALENYITALQAVPPRPRHVFNMLKKYVRAEQKDRQHTLKHFEHVRMVDPKKAAQIRSQVMTHLRVIYERMNQSLSLLYNVPAVAEEIQDEVDELLQKEQNYSDDVLANMISEPRISYGNDALMPSLTETKTTVELLPVNGEFSLDDLQPWHSFGADSVPANTENEVEPVDARPAADRGLTTRPGSGLTNIKTEEISEVKMDAEFRHDSGYEVHHQKLVFFAEDVGSNKGAIIGLMVGGVVIATVIVITLVMLKKKQYTSIHHGVVEVDAAVTPEERHLSKMQQNGYENPTYKFFEQMQN
REAL
>P05067_REV
NQMQEFFKYTPNEYGNQQMKSLHREEPTVAADVEVVGHHISTYQKKKLMVLTIVIVTAIVVGGVMLGIIAGKNSGVDEAFFVLKQHHVEYGSDHRFEADMKVESIEETKINTLGSGPRTTLGRDAAPRADVPEVENETNAPVSDAGFSHWPQLDDLSFEGNVPLLEVTTKTETLSPMLADNGYSIRPESIMNALVDDSYNQEKQLLEDVEDQIEEAVAPVNYLLSLSQNMREYIVRLHTMVQSRIQAAKKPDVMRVHEFHKLTHQRDKQEARVYKKLMNFVHRPRPPVAQLATIYNELALRRRDNLMAEVRAMHTEVLQQRENAAEQELSEVKEQFHQIVAKKDAKPLNKAQREAEEWERMVQSMRERHKAELREKAKQFHAHENEDGPTELYKDVADPTSAATTPLKVPDRALPEQTTKLLSQSMASGCVAMCYEETDFNNRNGGCGGYFFPACKGETVDFYWRSIMARCPGTEAQESCVERVVEEVSETTTTTTTAISTTRETAEEYPEEAEEEVEDGDEDDEDDDAEEEEVEAVEEEEAVEVVKDESGDAYDTDAGGWWVDSDDEEADASDVNDSEEALPCCVFEVGRFKDIGCPLLMGYDHLNTSKESCTEKAVTHWHLHTECVDMREQHLFKCKDPVLLADSVFEGVLCRYPIVFHPHTKCQKRGRKCWNQITVPQNAEVVNTIQLEPYVEQCYQLIGEKTDICTKTGSPDSDWKGNQVNMHMNLRGCFMAIQPEALLGANGDTPVELARATWAALLLLALGPLM
DECOY
Decoy libraries can be reversed or shuffled

## Slide 22: Peptide Spectrum Matches
MS1 Base Peak
MS2 Fragments
>P05067
MLPGLALLLLAAWTARALEVPTDGNAGLLAEPQIAMFCGRLNMHMNVQNGKWDSDPSGTKTCIDTKEGILQYCQEVYPELQITNVVEANQPVTIQNWCKRGRKQCKTHPHFVIPYRCLVGEFVSDALLVPDKCKFLHQERMDVCETHLHW
>P90210
MAVCGSAMSQSLLKTTQEPLARDPVKLPTTAASTPDAVDKYLETPGDENEHAHFQKAKERLEAKHRERMSQVMREWEEAERQAKNLPKADKKAVIQHFQEKVESLEQEAANERQQLVETHMARVEAMLNDRRRLALENYITALQAVPPRPRHVFNMLKKYVRAEQKDRQHTLKHFEH
Find peptides with masses close
to the parent peak
Hundreds of candidates

## Slide 23: Scoring a PSM match
Count Overlaps (Andromeda - MQ)
Correlate intensities (Perseus – PD)
Theoretical
Observed
Probability of finding n matching peaks out of k theoretical peaks when taking the top p peaks in the spectrum
https://pubs.acs.org/doi/10.1021/pr101065j
https://pubs.acs.org/doi/10.1021/pr800420s
Correlate intensities by mass for true masses and masses shifted +/- 75Da
Difference between the true correlation and the average mass shifted correlation
Theoretical
Observed

## Slide 24: Estimating PSM confidence
Search against combined real + decoy database
Use the distribution of decoy hits to calculate a false discovery background
PEP Score
Probability of peptide being wrongly identified
Q-value
Ratio of best Real hit to best Decoy hit

## Slide 25: Quantitating Proteins

## Slide 26: Label Free Quantitation
Variation in m/z (isotopes)
Variation in retention time (adjacent windows)
Build a "3D" peak – measure peak area
LC Column
Peptide Mix
Identification of peptides
Quantitation of peptides
DOI:10.1186/1756-0381-2-4
MS1 Peptide Spectrum
Base Peptide Mass
MS2 Fragment Spectra
Fragment Masses

## Slide 27: Measuring multiple samples
Variability in LC performance / time
DDA selects different peaks
Different peptides identified
Missing values
How to measure consistently across samples?

## Slide 28: Finding missing label free MS2 peaks
MS1
Sample 1 LC Time
Sample 2 LC Time
T
MS1
A ? C ?
MS2
? ? C D
MS2
A
D
Matching MS1 base peaks based on LC time and M/Z allows more consistent data collection.

## Slide 29: Tandem Mass Tagging (TMT)
SILAGVR
DOI:10.1155/2014/767812
Multiple tags with different reporter masses
Normalisers ensure total tag masses are identical

## Slide 30: Tandem Mass Tagging
Reporters detach leaving a separately quantifiable signal
MS2
B
A
R
B
A
R
B
A
R
B
A
R
B
B
R
B
B
R
B
B
R
B
B
R
B
C
R
B
C
R
B
C
R
B
C
R
Mix
Mix
Mix
MS1
Peptides from all samples run together with a fixed mass shift
>15 reporters available

## Slide 31: Moving from peptides to proteins

## Slide 32: Levels of quantitation
PSM
(Peptide Spectrum Match)
Peptide
Protein
Data Volume

## Slide 33: PSMs to Peptides
One peptide can produce multiple PSMs
  Different charge states
  Different modifications
  Missed cleavage sites
Combine the intensities for all PSMs for the same peptide
  Mean
  Trimmed mean
  Sum

## Slide 34: Peptides to Proteins
Prot A1
Prot A2
Prot B
P1
P2
P3
P4
P1
P2
P5
P6
P7
P8
P9
All Peptides
P3
P4
P5
P6
P7
P8
P9
Unique Peptides
P1
P2
Razor Peptides
Assigning Razor Peptides
Protein with most unique evidence
Protein with highest molecular weight
Quantitative value assignment
Mean of peptide quantitation
Sum of peptide quantitation
Highest peptide quantitation

## Slide 35: Grouping Proteins
Multiple proteins which share the same peptides are grouped together
Different groups can share peptides (Razor Peptides)

## Slide 36: Reported Values
How many peptides were observed (unique or with razor)
What percentage of peptides were observed (coverage)
Missed Cleavages
Protein
P6
P7
P8
P9

## Slide 37: Proteomics Data Files

## Slide 38
Most common format
(>70% of PRIDE)

## Slide 39: Information in RAW files
Chromatography times
Instrument settings
Spectra (with details)
  MS1
  MS2

## Slide 40: Data Repositories for Proteomics Mass Spec

## Slide 43: Problems with public data
Things that are well recorded
Mass spec collection metrics
Organism
Modifications
(Search method)
Things that are NOT recorded
Sample details
Experimental Conditions
Link from RAW files to samples
Finding data is simple. Downloading RAW files is easy. Figuring out which sample is which can be a complete nightmare.

## Slide 44: Files to download
Quantitated search results
Sample metadata
Raw spectrum files

## Slide 45: Exercise Finding Data in Public Repositories

## Slide 46: Running a Database Search

## Slide 47: Main Information Required
Which RAW file(s) are you analysing?
Which sequences do you want to search against?
Which type of quantitation are you using?
How did you digest your peptides?
What modifications do you expect to be present?
Specific thresholds
  Mass accuracy
  LC time flexibility
  Statistical thresholds
Normally either left at defaults, or set based on the machine you're using

## Slide 48: Running MaxQuant (Label Free)
Set Data
Set Cores
Set Search Sequences
Set Quantitation
Save Parameters
Run search

## Slide 49: Load Raw Files
Select RAW
files
Select Cores

## Slide 50: Set Quantitation

## Slide 51: Identification Parameters

## Slide 52: Search Sequences

## Slide 53: Saving and Running
$ ls -l mqpar.xml
-rw-rw-r-- 1 andrewss bioinf 29631 Aug 20 10:09 mqpar.xml
ssub -o mqcmd.log --cores=12 --mem=20G maxquant_cmd mqpar.xml
maxquant_cmd mqpar.xml

## Slide 54: Easier searches with mqtemplate
mqtemplate --template lfq --proteome mouse *raw
Proteome file is /bi/apps/mqtemplate/latest/proteomes/mouse_UP000000589_2024_08_23.fa
Template file is /bi/apps/mqtemplate/latest/templates/lfq.xml
Writing mqpar to /bi/home/andrewss/MaxQuantTest/example/mqpar.xml
Command to start searching:
ssub -o mqcmd.log --cores=12 --mem=24G maxquant_cmd mqpar.xml

## Slide 55: Log File Whilst Running
Configuring
Assemble run info
Finish run info
Testing fasta files
Testing raw files
Feature detection
Deisotoping
MS/MS preparation
Calculating peak properties
Combining apl files for first search
Preparing searches
MS/MS first search
Read search results for recalibration
Mass recalibration
Calculating masses
MS/MS preparation for main search
Combining apl files for main search
MS/MS main search
Preparing combined folder
Correcting errors
Reading search engine results
Preparing reverse hits
Finish search engine results
Filter identifications (MS/MS)
Calculating PEP
Copying identifications
Applying FDR
Assembling second peptide MS/MS
Combining second peptide files
Second peptide search
Reading search engine results (SP)
Finish search engine results (SP)
Filtering identifications (SP)
Applying FDR (SP)
Re-quantification
Reporter quantification
Retention time alignment
Matching between runs 1
Matching between runs 2
Matching between runs 3
Matching between runs 4
Prepare protein assembly
Assembling proteins
Assembling unidentified peptides
Finish protein assembly
Updating identifications
Label-free preparation
Label-free normalization
Label-free quantification
Label-free collect
Estimating complexity
Prepare writing tables
Writing tables
Finish writing tables

## Slide 56: Output Files
RAW files
combined
txt
evidence.txt
All of the quantified data at PSM level
summary.txt
Overall summary metrics for the run
proteinGroups.txt
Details of the proteins which were joined

## Slide 57: Quality Control of Search Results
Problems during sample preparation
  Digestion failed
  Sample Contaminated
  Low sample amount
Problems during Chromatography
  Even amounts of data over time
  Consistent rate between experiments
Problems with the Mass Spec
  Poor mass accuracy
  Poor matching to reference

## Slide 58: PTXQC
R package – calculates a QC report from MQ or MzTab
https://cran.rstudio.com/web/packages/PTXQC/index.html

## Slide 60: Loading and Abundance
Should be equal (ish)
Lower is worse
  Underloaded
  Poor column
RSD is reproducibility between files

## Slide 61: Digestion and Contaminants
Contaminant Abundance
Missed Cleavages

## Slide 62: Chromatography Consistency
Consistent peptides over time
MS1 Peak Width

## Slide 63: Match Between Runs
Were the retention times sufficiently close to
allow base peak matching?
Were transferred peaks correct?

## Slide 64: Peptide Identification
Peptide Level
Protein Level
Notes: Shows directly observed vs transferred quantitations. For peptides a genuine+transferred is always bad because you shouldn’t observe the same peptide more than one at different retention times. For Proteins then genuine+transferred is OK because different peptides in the protein might be detected with different efficiency.

## Slide 65: Mass Accuracy

## Slide 66: Exercise Looking at QC Reports

## Slide 67: Analysing Mass Spec Data with R

## Slide 68: Bioconductor Package Environments
Streamlined workflow
  Data Import
  Data Aggregation and Normalisation
  Differential abundance testing
Little flexibility or control
Manual workflow
  More user input in each step
  More flexibility and options
  Links externally for statistics

## Slide 69: MSStats Shiny

## Slide 70: MSStats Shiny Workflow
Define Experiment
  Protein vs Peptide vs PTM
  Mass Spec experiment type
Load Data
  Different imports from different programs

## Slide 71: MSStats Shiny Workflow
Protein Level Summarisation
  Log Base
  Normalisation
  Filtering
  Imputation
  Summarisation
Visualisation of individual proteins
  Not very useful initially

## Slide 72: MSStats Shiny Workflow
Statistical analysis
  Define comparison

## Slide 73: MSStats Shiny Workflow
Visualisation
  Volcano plot
  Expression plots
Data Export

## Slide 74: Exercise Running MSstats Shiny

## Slide 75: MStats Manual
Load Search Data
Describe Experiment
Build Raw Data
Normalise
Statistical Comparison
Report

## Slide 76: Loading Data
MaxQuant
  evidence.txt
  proteinGroups.txt
Spectronaut
  output_spectronaut.csv
ProteomeDiscoverer
  PSM result file

## Slide 77: Raw PSM Data

## Slide 78: Building Annotation File

## Slide 79: Creating raw data object
Removes contaminants
Removes reverse (decoy) matches
Removes proteins with 1 or 2 measures across all samples
MaxQtoMSstatsFormat(
evidence = evidence,
annotation = annotation,
proteinGroups = protein_groups
) -> raw_data

## Slide 80: Quantitating
dataProcess(
raw_data
) -> quantified_data
Log transforms and Normalises
Summarises Proteins
Imputes missing values

## Slide 81: Imputation
Can greatly expand the coverage of your data
Restored values based on assumptions which may not be true
Statistics doesn’t account for what is imputed
Many Methods
Lowest observed value
Random normal value
Nearest neighbours
Random forest

## Slide 82: Normalisation
Original
Equalise
Medians
Quantile
Specific
Genes

## Slide 83
Search Software
Quantitation method
Normalisation method
Statistical test

## Slide 84: Differential Abundance Statistics
Quantitative analysis on normalised data
T-test based (LIMMA)
Mixture Models (MSstats, DEqMS)

## Slide 85: Running Differential Abundance
ProtTot TAP
TAP_vs_Total -1 1
groupComparison(
contrast.matrix = contrasts,
data=quantified_data
) -> comparison_result

## Slide 86: Plotting Hits

## Slide 87: More Detailed Information

## Slide 88: Exercise Running MSstats in R